National Strategies for Management of Fluctuations in Wind Power and CHP

The case of Denmark

By Henrik Lund

Department of Development and Planning, Aalborg University, Denmark

Fibigerstraede 13, DK 9220 Aalborg,

E-mail: Lund@i4.auc.dk

## Abstract

Both CHP (Combined Heat and Power Production) and Wind Power are important elements of Danish Energy Policy. Today, approximately 50% of both the Danish electricity demand and the Danish heat demand are produced in CHP and more than 10% of the electricity demand is produced on Wind Turbines. Both technologies are essential for the implementation of Danish Climate Change Response objectives, and both technologies are planned to expand further in the coming decade. Meanwhile, both technologies are subject to fluctuations in electricity production. Wind turbines depend on the wind, and CHP depend on the heat demand.

This paper discusses and analyses two different national strategies for solving this problem. One strategy, the export strategy, is to take advantage of the Nordic and European markets for selling and buying electricity. In this case surplus electricity from wind power and CHP simply will be sold to neighbouring countries. Another strategy, the self-supply strategy, is to run the CHP-units in order to meet both demand and the fluctuations in the wind. In this case investments in heat-storages are necessary and heat pumps have to be added to the CHP units.

Based on official Danish Energy Policy and Energy Plans the paper quantifies the problem in year 2015 in terms of the amount of surplus electricity. And necessary investments in heat pumps, etc. to solve the problem are calculated. Based on this quantification’s the two different strategies are discussed in the paper and the self-supply strategy is recommended instead of the official export strategy.

- Introduction

The Danish plans for implementation of CO2-reduction targets are characterised by replacing energy systems based on large power plants, with far more decentralised systems based on energy efficiency at the individual places of consumption and renewable energy systems adapted to local conditions. Such technological shift needs national strategies for the management of fluctuations in wind power and CHP.

Security of supply and climate change response are major objectives for the energy policy of Denmark and other European countries. During the past 20 years these objectives have been expressed through a number of energy plans adopted by the Danish Parliament. During the period from 1972 to 1990, the major objective was to become less dependent on oil imports. Since 1990, Danish energy policy’s main objective has been to reduce the CO2-emissions by 20% before the year 2005. This objective was expressed by the national energy plan Energy 2000 (Danish Ministry of Energy 1990). Since then, the objective has been confirmed by the energy plans Energy 2000 - Follow-up (Danish Ministry of Energy 1993) and Energy 21 (Danish Ministry of Environment and Energy 1996). In March 1997, Denmark participated in the European Council decision with the aim of reducing the 1990 CO2-emission by 10% before 2010. According to this decision Denmark has to reduce its CO2-emissions by 25% of 1990 emissions (European Council 1997) (Danish Environmental Protection Agency 1994).

In the 1970s and 1980s, the objective of security of supply was met by energy savings, increasing oil production and a replacement of oil with other fuels, mainly coal and natural gas. Houses were insulated and central heating systems were converted from oil to natural gas or district heating based on coal-fired CHP plants. Power plants replaced oil with imported coal and over a period of five years the Danish electricity production changed from 90% use of oil to 95% use of coal. Over the same period Denmark itself began to extract oil and natural gas in the North Sea. At present, Denmark has a net export of oil and natural gas.

Danish energy policy has also succeeded in meeting the objective of climate change response. First, insulation of houses and an extensive expansion in the use of CHP has lead to decreased fuel consumption for domestic heating. It has been achieved during a period of 20 years of economic growth in which the number of houses has increased. Second, different types of renewable energy have been introduced, e.g. wind power, which is now producing approximately 10% of the Danish electricity supply (Christensen P. et al. 1998) (Lund H. 2000). However, Danish energy policy has also failed sometimes. For example, the expansion of decentralised CHP was delayed for several years because the potential was considered too small to motivate development. Also large investments were made in thermal insulation during the 1970s and 1980s, while none were made in electricity savings. This resulted in increased fuel consumption for electricity production, while the fuel consumption for domestic heating decreased.

Parliament’s climate change response in 1990 described various types of strategies to reach the objective. According to the Government’s energy plan from 1990 (Energy 2000) the technology of coal-fired power generation has to be replaced by new technologies, such as energy conservation, decentralised CHP and renewable energy. Since 1990, all strategies in Parliament’s energy plans have been based on these principles of technology change, so Denmark must change its energy technologies radically (Hvelplund F. et al. 1995) (Lund H. et al. 1997).

As opposed to the old technologies such as coal-fired power plants, the new technologies are widely distributed throughout the areas of consumption, and the implementation is therefore characterised by decentralisation of the electricity production.

- Electricity consumption is planned to be stabilised by (a) energy conservation and (b) the replacement of electric heating by district heating or by individual boilers in combination with solar heating.

- Some centralised coal-fired power plants are being supplemented or replaced by a number of local CHP units fuelled with natural gas or local biomass fuels.

- Wind power will be expanded onshore to a total of 1500 MW.

- Wind power offshore is planned to expand substantially (two 150 MW offshore wind farms are planned to be in operation by the end of 2003 and the potential is estimated to be several thousand MW).

- Various other technologies that exploit renewable energy sources, such as solar cells and wave power plants, are being introduced.

- This radical change in technology is a challenge to the planning and design of the future energy system.

- The implementation of sustainable energy solutions has put Denmark in a leading role with regard to insulation of houses, building of wind turbines and CHP. Wind power now produces nearly 10% of electricity demands and 50% are produced in CHP. And both CHP and wind power are still being expanded. Together, this means that Denmark has become an international leader in terms of facing possible regulation problems. This paper is discussing whether to integrate heat pumps and storage devices into the local energy systems, or whether to export surplus electricity production.

2. The Official Danish Strategy: import/export-dependency

At present the official Danish energy Policy is expressed by the Government Action Plan for Energy: “Energy 21” (Danish Ministry of Environment and Energy 1996). Energy 21 specifies sub-objectives for energy intensity and renewable energy in 2005. These are not presented as independent targets but as consequences of the steps necessary in order to reach the 20% CO2-reduction target in 2005. The consequences for year 2005 are that energy intensity will improve by approximately 20% on 1994, and that renewable energy will have expanded to about 12-14% of estimated energy consumption. In order for CO2-emissions to be halved before 2030 the energy intensity must be improved by approximately 55% on 1994 and renewable energy must be expanded to about 35% of estimated energy consumption  (Danish Ministry of Environment and Energy 1996).

The Danish Energy Agency has made various calculations on the necessary technological changes in the energy system in order to implement Energy 21. Such calculations have been based on the expansion of both CHP and renewable energy, in particular wind power. And to some extent the calculations have quantified the problem of making fluctuations in power from CHP and wind meet the fluctuations in demand. All of the calculations have been based on the principle that import/export of electricity on liberalised Nordic and European markets would solve this regulation problem simply by selling surplus production.

The Danish Energy Agency calculations have been adjusted over time according to adjustments in the implementation strategy. Table 1 shows main figures of the latest calculations (Danish Energy Agency, June 1998):

Table 1: Official Danish Energy Plan “Energy 21” according to the Danish Energy Agency, 1998

| TWh/year | Year 2005 | Year 2015 | Year 2030 |
| --- | --- | --- | --- |
| District heating production Sun collectors --------------- CHP (incl. Peak load boilers And heat pumps) | 34.65 - 0.03 ------------- 34.62 | 35.10 - 0.03 ------------- 35.07 | 34.23 - 0.03 ------------ 34.20 |
| Electricity demand (ab station) Wind power, etc. Export Import ------------- Rest (CHP + heat pump) | 33.80 - 5.20 4.27 - ------------ 32.87 | 34.04 - 9.23 5.88 - 1.19 ------------ 29.50 | 31.21 - 17.96 13.98 - 2.19 ------------ 25.04 |

Table 1 shows that the official strategy is based on substantial expansion of exports, which is necessary in order to solve the problem of fluctuations in power production from CHP and wind. According to preliminary estimations the surplus production in year 2030 becomes as high as 5500 MW in a windy winter week. Thus, the implementation of this strategy results in an estimated need of expanding the high voltages exchange capacity by approximately 2000 MW (Danish Energy Agency, June 1998).

3. An Alternative Strategy: self-supply

The implementation of Energy 21 with the planned regulation strategy leads to a situation in which Denmark will be forced to export electricity at certain  - non-predictable  - periods.  This strategy is weak particularly on two points:

- By being forced to produce and sell at certain periods Denmark will be placed in a very bad position when prices are negotiated.

- The Danish implementation of climate change response should of course be seen as part of international actions on a global scale. But the Danish export implementation strategy prevents neighbouring countries from implementing similar strategies. In such a case everyone would need to export wind and CHP surplus production simultaneously.

In this paper an alternative self-sufficiency strategy is described. The aim is still to implement the official Danish energy policy as put forward in Energy 21, but in a way in which Denmark is not forced to export or import. This does not prevent Denmark from selling and buying electricity on Nordic or European markets. But it provides Denmark with the possibility of choosing if and when to sell and buy. Such a strategy is calculated below and compared with the export-strategy on the following assumptions:

- Export figures have decreased to zero.

- Further investments in heat pumps are added in order to convert surplus electricity to district heating.

- The need for CHP-unit capacities increases by 20% compared with the implementation of the export strategy in order to make it possible to place CHP-production according to fluctuations in wind power production as well as in electricity and heat demands.

The implementation of the self-sufficiency strategy also entails investments in heat-storages, but such investments are already included in the export strategy. Moreover, it provides the possibility of decreasing the share of peak load boilers for district heating production. The changes are illustrated in table 2.

Table 2: Alternative “Energy 21” implementation

| TWh/year | Year 2005 | Year 2015 | Year 2030 |
| --- | --- | --- | --- |
| District heating production Sun collectors --------------- CHP (incl. Peak load boilers And heat pumps) | 34.65 - 0.03 ------------- 34.62 | 35.10 - 0.03 ------------ 35.07 | 34.23 - 0.03 ------------ 34.20 |
| Electricity demand (ab station) Wind power, etc. Export Import ------------- Rest (CHP + heat pump) | 33.80 - 5.20 4.27 - ------------ 32.87 | 34.04 - 9.23 0.00 - 1.19 ------------ 23.62 | 31.21 - 17.96 0.00 - 2.19 ------------ 11.06 |

4. Calculation Model

The two alternatives have been compared on a simple input/output-model (See fig. 1). The model needs three sets of input. The first is the annual district heating consumption and the annual consumption and import/export of electricity together with the annual production on wind turbines. The second is operation efficiencies of CHP-units, power stations, boilers and heat pumps. And the third is the capacity of heat pumps.

The model provides two sets of output. The first is necessary capacities of CHP-units, power stations, and peak boilers. And the second is the fuel consumption distributed on the different types of units.

First the model finds the necessary annual electricity production from CHP-units and power stations by subtracting wind power and import/export from the electricity consumption. Then, based on this number and the annual district heating consumption the model calculates in periods of two weeks. The annual consumption is distributed into 26 periods of two weeks based on statistics of a Danish average distribution. In each period the model calculates the resulting energy balance in four steps:

- The potential CHP district heating production is calculated in a case in which all the electricity is produced on CHP units.  The number is reduced in case it is higher than the district heating demand of the period.

#### Input

Annual demands (TWh/year):

QDH = District heating

QS = Production from sun collectors for district heating

WD = Electricity demand ab station

WE = Electricity export

WI = Electricity import

WW = Wind power production

Statistic for typical distribution of annual demands on 26 two-week periods:

Q =  qi        (i = 1 to i = 26)

W =  wi   (i = 1 to i = 26)

Capacities (MW electric):

CHP = Heat Pump capacity

Efficiencies:

CHP = CHP heat efficiency

CHP = CHP electricity efficiency

B = Boiler heat efficiency

 P = Power Plant electricity efficiency

HP = Heat Pump coefficient of performance

Energy balance - calculations for each 26 two-week periods (TWh/period):

qCHP-A = wi * CHP/CHP    [If qCHP-A > qi  then qCHP-A = qi ]

qCHP+HP = CHP * (HP + CHP/CHP) * (8760 / 26)/1,000,000

[If qCHP-A + qCHP+HP > qi  then qCHP+HP = qi - qCHP-A]

CHP heat production: qCHP = qCHP-A + qCHP+HP * (CHP/CHP)/(HP + CHP/CHP)

Heat Pump heat production: qHP = qCHP+HP * HP /(HP + CHP/CHP)

Boiler heat production: qB = qi – qCHP - qHP

CHP electricity production:            wCHP = qCHP * CHP/CHP

Heat Pump electricity demand:       wHP = qHP / HP

Power Plant electricity production: wP = wi – wCHP + wHP

Model (Energy System Analysis)

Annual demands for CHP + Heat Pumps + Boilers + Power Plants (TWh/year):

Q = QDH - QS

W = WD + WE – WI - WW

Peak-load and reserve capacity needs (MW or MJ/s):

CW-PEAK = (W*1,000,000/8760) + CHP

CW-PEAK+RESERVE = 1,2 * CW-PEAK

CQ-PEAK = (qMAX*1,000,000)/(8760/26)

CQ-PEAK+RESERVE = 2 * CQ-PEAK

Fig. 1

Annual fuel demands (TWh/year):

CHP fuel demand:             FCHP =  qCHP  /CHP

Boiler fuel demand:           FB =  qB  /B

Power Plan fuel demand:  FP =  wP /  P

Output

Necessary capacities (MW or MJ/s):

CHP (MW-electric): CCHP = qCHP-MAX * (1,000,000/(14*24)) * (CHP/CHP)

Power Plants (MW-electric): CP = CW-PEAK+RESERVE - CCHP

Boilers (MJ/s heat): CB = CQ-PEAK+RESERVE – (CCHP/CHP)*CHP - CHP*HP

- Then, based on the heat pump input capacity, the potential heat pump district heating production is calculated. The raise in electricity demand from the heat pumps should be produced on either CHP-units or power stations. Thus, the calculation includes the additional possibilities for CHP heat production that follows from producing the electricity for heat pumps. Again the number is reduced in case it is higher than the district heating demand in the period.

- The heat production on boilers is found as the difference between the demand and the production on CHP-units and heat pumps.

- The electricity production on power stations is found as the difference between demand and production on CHP-units subtracted the demand for heat pumps.

At last, the fuel consumption for each type of production unit (CHP-units, boilers and power stations) is found based on the production and the input efficiencies. Based on such an energy-balance the model calculates the capacities as follows:

- The CHP-units in the official Danish import/export strategy is found so that they can meet the winter heat demand. In the alternative strategy the CHP capacities are raised by 20% in order to make it possible to regulate electricity production according to the wind power.

- Based on Danish statistics the maximum electricity consumption is found as 166% of the average consumption. The heat pump capacity and a 20% reserve capacity are added to this number in order to find the total capacity demand. The necessary peak load power capacities is then found as the difference between this number and the CHP capacities.

- The required heat production capacities are found by adding a 100% reserve to the maximum heat demand. The necessary boiler capacity is found by subtracting heat pumps and CHP capacities from this number.

When using the calculation model, one can change the heat pump capacity input in order to find a suitable balance between investments in heat pumps and fuel savings. The model calculates the peak-load boiler per cent as an indicator for finding such balance. Normally CHP-units in Denmark have an optimal size, when the peak-load boiler per cent is about 5 to 10.

5. Comparison

Based on the input described previously in tables 1 and 2 and the efficiencies in table 3, the two different strategies have been compared on the calculation model for the year 2015. The results are shown in table 4.

Table 3: Efficiency input data

| CHP electricity efficiency CHP heat efficiency Power Plant electricity efficiency Boiler heat efficiency Heat Pump coefficient of performance | 40% 50% 45% 90% 3 |
| --- | --- |

Table 4: Results of comparing the two different regulation-strategies in year 2015

|  | Export-dependency Regulation strategy | Self-supply Regulation strategy | Additional investments if self-supply is implemented |
| --- | --- | --- | --- |
| ### Capacities: CHP-units (MW-electric) Power Plants (MW-electric) Heat Pumps (MW-electric) Boilers (MJ/s heat) | 3877 MW 3957 MW 78 MW 9159 MJ/s | 4062 MW 4279 MW 500 MW 7662 MJ/s | 185 MW 322 MW 422 MW - 1497 MJ/s |
| Electricity production Export | 5.88 TWh/year | 0.00 TWh/year | - 5.88 TWh/year |
| Fuel demands (TWh/year): CHP-units Power Plants Boilers Sum | 60.06 TWh/year 12.85 TWh/year 4.58 TWh/year 77.49 TWh/year | 54.25 TWh/year 8.62 TWh/year 2.31 TWh/year 65.17 TWh/year | - 5.81 TWh/year - 4.23 TWh/year - 2.27 TWh/year - 12.31 TWh/year |

As illustrated by the results in table 4 the implementation of the self-supply strategy instead of the official export-dependency strategy entails additional investments in CHP-units, heat pumps and power stations. Such additional capacities will save some of the need for boiler-capacity, but this does not influence the total costs very much since boilers are very inexpensive. In table 4 the implementation of the self-supply strategy is illustrated by no export and subsequently much lower fuel consumption. Of course it is possible to export also in the self-supply strategy, but in this case the export is not forced and the electricity can be produced at times with high prices.

The comparison can be used to find the total production prices of the electricity that Denmark is forced to export in the official export-dependency strategy. Such calculation is made in table 5. The construction costs are based on typical Danish investments, and the operation and maintenance costs are based on running costs of typical existing production units. The fuel costs are calculated on the assumption that all additional fuel in year 2015 will be natural gas and the prices is set to 1.2 DDK/m3 equal to 0.11 DDK/kWh or approximately 0.016 ECU/kWh

Table 5: Calculation of unit production costs of electricity export in the export-dependency strategy

|  | Difference | Cost pr. unit Million DKK/unit | Total Costs Million DKK | Annual Costs Million DKK/Year |
| --- | --- | --- | --- | --- |
| ### Construction: CHP-units Power Stations Heat Pumps Boilers Sum | 185 MW 322 MW 422 MW - 1,497 MJ/s | 6 4 9 1 | 1111 1285 3798 -1497 4696 | 377 |
| Operation and M. CHP-units Power Stations Heat-Pumps Boilers Sum | -2.32 TWh elec. -1.90 TWh elec. -4.95 TWh th. -2.05 TWh th. | 60 60 20 10 | -139 -114 99 -20 - 175 | -175 |
| ### Fuel consumption CHP-units Power Stations Boilers Sum | -5.81 TWh -4.23 TWh -2.27 TWh | 110 110 110 | -639 -466 -250 -1,355 | -1355 |
| Total annual additional costs of implementing the self-supply strategy Total annual additional export of electricity Marginal unit production costs of electricity export |  |  |  | - 1,153 million DKK -5.88 TWh 0.20 DKK/kWh |

In table 5 the total net construction costs of implementing the self-supply strategy is calculated to 4,696 million DDK. With an interest of 5% and a period of 20 years this amount equals annual costs of 377 million DKK. When saved fuel costs and operation and maintenance costs are subtracted the total annual production costs of exporting 5.88 TWh are then 1,153 million DKK. The calculation in table 5 does not include saved construction costs of expanding the high voltage exchange capacity mentioned before. And it should be emphasised that the calculation is rather sensitive to the fuel costs.

The result the is that with a natural gas price of 1.2 DKK/m3 (equal to 0.016 ECU/kWh), the production price of the forced electricity export in the official Danish energy plans is as high as 0,20 DKK/kWh (equal to 0.029 ECU/kWh). This price could be compared with the spot market prices on the Nordic markets represented by NORDPOOL, where the prices fluctuate between 0.10 and 0.15 DKK/kWh. Such a comparison strongly indicates that the implementation of the official strategy does not seem to be a good idea from a strictly business point of view.

6. Further investigations

The analyses in this paper are based on a number of important assumptions. Consequently the results should be regarded as preliminary estimations. And the analyses are planned to be supplemented with a number of additional calculations, such as:

- The technical energy system analysis carried out by the described model is calculated in steps of 26 two-week periods. The model assumes existence of heat-storages and that CHP and heat pump capacities are increased. Meanwhile the model does not analyse whether fluctuations in wind power in steps of hours can be absorbed by the CHP-system. Therefore it is planned to add a calculation of technical regulation and integration of wind power in steps of 1 hour. Danish wind statistics for three years (a low-wind, a high-wind and an average wind year) have already been located as input to such a model. This model will be able to calculate both the magnitude of the annual surplus production (forced for export) and also the location in time periods such as day or night, weekend or weekdays, winter or summer.

- The calculations have only been carried out for year 2015. And the production costs have only been calculated for one fuel price. It is planned to expand the calculations to year 2030 and to analyse a number of fuel prices.

- The production price (of 0.20 DKK/kWh) has only been compared with the current average NORDPOOL prices. But given the time periods, and the amounts of forced electricity from a new calculation model, the influence of such sales on the market price should be evaluated. Such an analysis is planned to be carried out together with my colleague Frede Hvelplund.

- Here the existing export-dependency strategy has only been compared with one self-supply alternative based on the integration of wind power and CHP by the use of heat pumps and heat storage. Other alternatives should be investigated. Especially alternatives in which transportation is included.

7. Conclusions

Both CHP and Wind Power are important elements of Danish Energy Policy. Today, approximately 50% of both the Danish electricity and heat demands are produced in CHP. And more than 10% of the electricity demand is produced on Wind Turbines. Both technologies are essential for the implementation of Danish Climate Change Response objectives, and both technologies are planned to expand further in the coming decade. Meanwhile both technologies are subject to fluctuations in the electricity production. Wind turbines depend on the wind, and CHP depend on the heat demand.

This paper has compared two different national strategies for solving this problem. One strategy, the export strategy, is to take advantage of Nordic and European markets for selling and buying electricity. In this case surplus electricity from wind power and CHP simply will be sold to neighbouring countries. Another strategy, the self-supply strategy, is to run the CHP-units in order to meet both demand and the fluctuations in the wind. In this case investments in heat-storages and heat pumps need to be added to the CHP units. In this paper such additional investments have been estimated to annual costs of 377 million DKK. This amount constitutes the costs of getting a production system that allows to decide whether or not, and if that were the case, when to produce electricity for export instead of being forced to sell in certain periods depending of fluctuations in the wind and heat demand.

According to the Danish Energy Agency export is the official strategy. By comparing the two different strategies a production price of the “forced electricity for export” in such a strategy is found to primarily depend on the fuel-price. For a natural gas price of 1.2 DKK/m3 the production price has been estimated to 0.20 DKK/kWh. This price has been compared with the spot market prices on the Nordic markets represented by NORDPOOL, where the prices fluctuate between 0.10 and 0.15 DKK/kWh. Such a comparison strongly indicates that the implementation of the official strategy does not seem to be a good idea from a strict business point of view. Meanwhile possible future spot market prices are hard to predict.

Denmark does not necessarily have to choose now whether we will export electricity in year 2015 or 2030. But we have to choose whether the energy-production system should be constructed according to the one or the other strategy. In the export strategy, Denmark will be forced to produce surplus-electricity that will likely be sold below the production prices. In the self-supply strategy, Denmark will be able to choose whether to export or not, and if so when to export.

8. References

Christensen, P. et al., Conflicting Views of Sustainability: The case of Wind Power and Nature Protection in Denmark, European Environment vol. 8, 1998, pp. 1-6

Danish Energy Agency, Detaljeret beskrivelse af alternativ B, Danish Ministry of Environment and Energy, June 1998.

Danish Environmental Protection Agency, Climate Protection in Denmark, National Report of the Danish Government in Accordance with Article 12 of the United Nations Convention on Climate Change, Danish Environmental Protection Agency, 1994.

Danish Ministry of Energy, Energy 2000: A Plan of Action for a Sustainable Development, Danish Ministry of Energy, Copenhagen, Denmark, 1990.

Danish Ministry of Energy, Energy 2000 - Follow up; Responsible and Forward Looking Energy Policy, Danish Ministry of Energy, Denmark, 1993.

Danish Ministry of Environment and Energy, Energy 21. The Danish Government´s Action Plan for Energy, 1996.

European Council, Summary 1990, Council meeting – Environment, Brussels, 3 March 1997.

Hvelplund, F. et al., Demokrati og Forandring, energihandlingsplan 96 (Democracy and Change, Energy Action Plan 1996 Aalborg University Press, October 1995.

Lund, H. et al., Does Environmental impact assessment really support technological change? Analysing alternatives to coal-fired power stations in Denmark, Environmental Impact Assessment Review vol. 17, no 5 1997.

Lund, H., Choice Awareness. The Development of Technological and Institutional Choice in the Public Debate of Danish Energy Planning, To be published in Journal of Environmental Policy and Planning vol. 2, no. 3, 2000.